Date:

Surrey File:

Consultant File:

INSPECTORS’ FINAL CONSTRUCTION

INSPECTION CHECK

UNDERGROUND

| Yes | No | N/A |  |
| --- | --- | --- | --- |
|  |  |  | 1. Sanitary & Storm Sewer |
|  |  |  | - Have systems been air tested, lamped and video reports submitted? |
|  |  |  | - Are all manholes completed/passed? |
|  |  |  | - Are all storm and sanitary IC’s visibly staked and acceptable? Stamped at the curb? Is the IC’s PVC riser painted red? Is the red cap in place? |
|  |  |  | - Are all of the markings listed above consistent to ensure no cross connections by the builder? |
|  |  |  | - Do the lines need flushing? |
|  |  |  | - Have all tie-ins been made? |
|  |  |  | - Was correct bedding and backfill used in trenches and properly compared? |
|  |  |  | - Have SDR’s been installed? |
|  |  |  | - Has Drainage Detention been installed? |
|  |  |  | - Have ic's been installed/extended for ex. houses? |
|  |  |  | - Have septic systems been removed? |
|  |  |  | - Have existing houses been tied into storm and sanitary, and plumbing approvals received? |
| Comments: |  |  |  |
|  |  |  | 2. Water Main/Connections |
|  |  |  | - Has water main been passed and accepted? |
|  |  |  | - Have all tie-ins been made by the City? |
|  |  |  | - Have all valves been installed? |
|  |  |  | - Has blow-off been installed? (Complete with drain valve, riser cap, and insulation installed?) |
|  |  |  | - Have asphalt aprons been installed around gate valves in boulevards? |
|  |  |  | - Have connections been installed and staked? |
|  |  |  | - Have all hydrants been installed? |
|  |  |  | - Note: Is bottom of hydrant 0 to 6” above ground level? |
|  |  |  | - Is hydrant square to R/W and roadway? |
|  |  |  | - Was correct bedding and backfill used in trenches and properly compacted? |
|  |  |  | - Have test points been removed? |
|  |  |  | - Has a water meter setter and box been installed for existing houses (and plumbing permit/approvals)? |
| Comments: |  |  |  |

| Yes | No | N/A |  |
| --- | --- | --- | --- |
|  |  |  | 3. Ornamental Street Lights |
|  |  |  | - Have all poles been erected and luminaires installed? |
|  |  |  | - Are poles at correct offset? |
|  |  |  | - Have all the poles been galvanized painted and numbered? |
|  |  |  | - Has the electrical inspector passed system? |
|  |  |  | - Has system been energized? |
|  |  |  | - Do any Hydro lease lights need to be removed? |
| Comments: |  |  |  |
|  |  |  | 4. B.C. Hydro/B.C. Telephone |
|  |  |  | - Installed, accepted, and approvals received? |
|  |  |  | - Is existing house(s) converted to temporary underground? |
|  |  |  | - Do any power poles need to be removed or relocated? |
| Comments: |  |  |  |

SURFACE CONSTRUCTION

|  |  |  | 1. Base Sub-Base |
| --- | --- | --- | --- |
|  |  |  | - Was sub-grade accepted? |
|  |  |  | - Did sub-base and base pass proof roll? |
|  |  |  | - Were in-place densities taken and passed? |
|  |  |  | - Was correct thickness of sub-base and base gravel placed? |
|  |  |  | - Was the base checked for proper compaction, grade and crossfall? |
|  |  |  | - Are french drains or swales and lawn basin required behind sidewalks, curbs, or gravel shoulders? |
| Comments: |  |  |  |
|  |  |  | 2. Concrete, Sidewalks, Curb & Gutter, Walkways |
|  |  |  | - Are sidewalks the correct thickness and width? |
|  |  |  | - Was base prepared, compacted, tested and accepted? |
|  |  |  | - Is surface finish acceptable and joints installed correctly? |
|  |  |  | - Has all curb and gutter been installed? |
|  |  |  | - Has the correct style of curb and gutter been installed? |
|  |  |  | - Was concrete test taken and passed? |
|  |  |  | - Is a lighting strip required and is it installed? |
|  |  |  | - Is there any damage at showhome lots? |
| Comments: |  |  |  |
| Yes | No | N/A |  |
|  |  |  | 3. Asphalt Paving |
|  |  |  | - All roads been paved? |
|  |  |  | - Has base lift been placed and accepted (50mm or 65mm)? |
|  |  |  | - Has final lift been placed and accepted (35mm)? |
|  |  |  | - Has asphalt test been taken? |
|  |  |  | - Are there asphalt paving deficiencies? |
|  |  |  | - Are asphalt tie-ins to existing pavements smooth? |
|  |  |  | - Is there cash in lieu for asphalt overlay? |
|  |  |  | - Are temporary traffic control signs in place (i.e., stop signs)? |
|  |  |  | - Are gravel shoulders required? |
| Comments: |  |  |  |
|  |  |  | 4. Boulevard |
|  |  |  | - Are boulevards graded, grassed and acceptable? |
|  |  |  | - Are there enough lawn and catchbasins? |
|  |  |  | - Is a french drain required? |
| Comments: |  |  |  |
|  |  |  | 5. Lot Grading |
|  |  |  | - Has rough lot grading been certified and accepted? |
|  |  |  | - Do any existing buildings need to be removed or relocated? |
|  |  |  | - Are all swales and lawnbasins installed? |
|  |  |  | - Has general site cleanup been done? |
|  |  |  | - Is snow fencing up along park areas and around protected trees? |
| Comments: |  |  |  |

| Yes | No | N/A |  |
| --- | --- | --- | --- |
|  |  |  | 6. Existing Roads |
|  |  |  | - Roads cleaned? |
|  |  |  | - Have any existing survey monuments been disturbed? |
|  |  |  | - Are road cuts left in good condition? |
|  |  |  | - Is Pavement Cut Policy applicable? |
|  |  |  | - Have temporary turnarounds been removed as necessary? |
| Comments: |  |  |  |
|  |  |  | 7. Driveways |
|  |  |  | - If any driveways installed, are they to correct width, elevation and location and tested for compaction? |
|  |  |  | - Are existing driveways to be removed? (Boulevard grass reinstated) |
| Comments: |  |  |  |
|  |  |  | 8. Siltation |
|  |  |  | - Are all silt control systems in place and functioning? |
|  |  |  | - Are safety fences in place around silt pond? |
|  |  |  | - Is a maintenance program in place? |
| Comments: |  |  |  |
|  |  |  | 9. Existing Buildings/Structures |
|  |  |  | - Have wells, septic systems been removed? |
|  |  |  | - Has house been removed (if applicable)? |
| Comments: |  |  |  |

Engineering Firm	Engineer’s Signature

/tmp/in/input.doc

RT 7/31/26 8:16 AM